Dear Solar Researchers,

On the Magnetic Field Data of the Solar Flare Telescope

Reduced Magnetic Data:

~~~~~~~~~~~~~~~~~~~~~~

The vector magnetic field data obtained by the Flare Telescope

are stored on the disk of workstation "spot" at Mitaka. You will

find files named as "fbyymmdd.hhmm" in directory "/solar/flare".

One or two sets of data are catalogued for each day. Now each file

contains four reduced images which are, respectively, intensity

at 6303A line wing, transverse magnetic fields (Bx,By) and longitudinal

magnetic field (Bl). The magnetic data are 2 bytes integer in unit

of Gauss*10 and each image has 256*240 pixels, where a pixel

corresponds to about 1.35 arc.sec.

The field strength is derived from the observed Stoks Q,U,V

by using a theoretical relation between them, but you need to keep

the following points in mind for using those data:

1. The Doppler shift of the line and the drift of the filter

wavelength by the temperature fluctuation are not corrected exactly.

It may produce an error of field strength of about 20% or more

at some regions.

2. The Q,U,V signal are saturated for the magnetic field stronger

than about 1700 Gauss. So the field strength in large spots may

not be reliable.

3. The direction of the transverse magnetic field (i.e. the

solution of the 180 degree ambiguity) is determined by refering

to the potential field calculated from the longitudinal magnetic

field distribution. The direction should be doublfull in regions

where the magnetic shear is very large.

How to Get the Data:

~~~~~~~~~~~~~~~~~~~~

The most easy way to see the magnetic data is to use the

IDL procedure "show" ;

IDL> .run show

Then a menu appeares and you can select data with the mouce.

Another way to read the magnetic data is

IDL> f1data,'filename',h,img,bx,by,bl

where h gives the header structure which contains the observation

information.

Notice:

~~~~~~~

The coordinates of the observing region recorded in the header

are occationally incorrect for November and December data in 1992.

It is due to a trouble in the guiding system of the telescope.

Please be carefull. The problem has been fixed now.

People who like to know about the all data obtained by Flare

Telescope can refer to the observation log files in /solar/flare/log.

The files "yymmdd.log" inform you the time and the observing region

for all data on the day.

For more detailed information, please contact to us.

Best wishes for a wonderful New Year!

K.Ichimoto & T.Sakurai   1992/12/30